## Slide 1
Me
Justin J.J. van der Hooft
Glasgow, UK
05 December 2014
Mass fragmentation:
What am I doing with
Peak Patterns of Small Metabolites?

## Slide 2
Mass spectrometry fragmentation
Mass Separation
Mass Trapping
Mass Detection
+
+
+
+
+
+
+
+
+
+
+
m/z
m/z
MS1
MS2
Ionization
Fragments to puzzle the metabolite structure

## Slide 3: Analysis of fragmentation spectra: ‘barcode’ or ‘fingerprint’ of L-histidine
Standard_Mix1_Mixed2_Top5
#
1735
RT:
10.35
AV:
1
NL:
4.03E5
T:
FTMS + p ESI d Full ms2 156.08@hcd60.00 [50.00-175.00]
50
60
70
80
90
100
110
120
130
140
150
160
170
m/z
0
5
10
15
20
25
30
35
40
45
50
55
60
65
70
75
80
85
90
95
100
Relative Abundance
110.0713
C
5
H
8
N
3
83.0604
C
4
H
7
N
2
93.0448
C
5
H
5
N
2
156.0768
C
6
H
10
O
2
N
3
95.0604
C
5
H
7
N
2
56.0498
C
3
H
6
N
81.0448
C
4
H
5
N
2
68.0496
C
4
H
6
N
89.3101
133.2336
99.8003
103.8980
60.1322
Mass fragments
Neutral losses
Structural information

## Slide 4: A story linked by fragments….
Challenge: comparing many many(!) spectra
  Possible solution: use cosine function
  Scores between 0 and 1 represent similarity
  Create network based on cosine scores and other filters/thresholds
  Note: no data interpretation is done yet!
m/z
MS2
m/z
MS2
m/z
MS2
m/z
MS2
m/z
MS2

## Slide 5: Molecular Network
Developed by Dorrestein et al.
0h
4h
9h
24h
Samples from Prof. David Smith

## Slide 7
Campy_Fucose_24hrs_Top5_60NCEstepped_pos
#
1672
RT:
7.55
AV:
1
NL:
7.24E5
F:
FTMS + p ESI d Full ms2 212.05@hcd60.00 [50.00-235.00]
60
80
100
120
140
160
180
200
220
m/z
0
5
10
15
20
25
30
35
40
45
50
55
60
65
70
75
80
85
90
95
100
Relative Abundance
110.0713
C
5
H
8
N
3
156.0768
C
6
H
10
O
2
N
3
83.0604
C
4
H
7
N
2
166.0975
C
8
H
12
O
N
3
212.0951
C
7
H
18
O
4
N
S
93.0448
C
5
H
5
N
2
95.0604
C
5
H
7
N
2
56.0498
C
3
H
6
N
194.0924
C
9
H
12
O
2
N
3
123.0110
C
3
H
7
O
3
S
138.0662
C
6
H
8
O
N
3
150.1027
C
8
H
12
N
3
198.4075
101.6301
191.3631
Campy_Fucose_24hrs_Top5_60NCEstepped_pos
#
2354
RT:
10.52
AV:
1
NL:
1.29E7
F:
FTMS + p ESI d Full ms2 156.08@hcd60.00 [50.00-175.00]
50
60
70
80
90
100
110
120
130
140
150
160
170
m/z
0
5
10
15
20
25
30
35
40
45
50
55
60
65
70
75
80
85
90
95
100
Relative Abundance
110.0713
C
5
H
8
N
3
83.0604
C
4
H
7
N
2
93.0448
C
5
H
5
N
2
156.0768
C
6
H
10
O
2
N
3
95.0604
C
5
H
7
N
2
56.0498
C
3
H
6
N
81.0448
C
4
H
5
N
2
68.0496
C
4
H
6
N
138.0662
C
6
H
8
O
N
3
169.5725
152.7669
63.2183
85.2062
107.5948
Campy_Fucose_24hrs_Top5_60NCEstepped_pos
#
1995
RT:
8.95
AV:
1
NL:
1.79E5
F:
FTMS + p ESI d Full ms2 302.13@hcd60.00 [50.00-325.00]
60
80
100
120
140
160
180
200
220
240
260
280
300
320
m/z
0
5
10
15
20
25
30
35
40
45
50
55
60
65
70
75
80
85
90
95
100
Relative Abundance
95.0604
C
5
H
7
N
2
154.0975
C
7
H
12
O
N
3
83.0604
C
4
H
7
N
2
110.0713
C
5
H
8
N
3
198.0874
C
8
H
12
O
3
N
3
68.0496
C
4
H
6
N
222.1236
C
11
H
16
O
2
N
3
124.0868
C
6
H
10
N
3
56.0498
C
3
H
6
N
240.1339
C
11
H
18
O
3
N
3
311.0127
C
6
H
19
O
6
P
4
280.5721
161.5426
Present at all time points….
Loss of C6H10O4 (C6H12O5)
Deoxyhexose! Fucose?
Present at 24 hours….
Loss of C3H4O (C3H6O2)
Propionate or lactaldehyde or ….

## Slide 8: Neutral loss of 146.0577 at 0 hrs fucose added medium
RT:
3.00 - 12.00
3
4
5
6
7
8
9
10
11
12
Time (min)
0
5
10
15
20
25
30
35
40
45
50
55
60
65
70
75
80
85
90
95
100
Relative Abundance
4.70
7.04
8.70
8.95
8.47
9.25
7.15
4.90
8.22
7.43
10.25
4.02
5.03
7.01
4.56
10.74
11.15
3.72
5.15
5.40
9.49
7.70
6.68
3.60
5.92
11.36
10.08
NL:
1.10E6
Neutral Fragment
146.06 MS
Campy_Fucose_0
hrs_Top5_60NCEs
tepped_pos
RT:
3.00 - 20.00
4
6
8
10
12
14
16
18
20
Time (min)
0
10
20
30
40
50
60
70
80
90
100
0
10
20
30
40
50
60
70
80
90
100
Relative Abundance
NL: 7.15E7
Base Peak m/z=
175.1181-175.1199 F: FTMS +
p ESI Full ms [70.00-1050.00]
MS
Campy_Fucose_0hrs_Top5_60
NCEstepped_pos
NL: 1.89E7
Base Peak m/z=
321.1753-321.1785 F: FTMS +
p ESI Full ms [70.00-1050.00]
MS
Campy_Fucose_0hrs_Top5_60
NCEstepped_pos
7E7
2E7
Campy_Fucose_0hrs_Top5_60NCEstepped_pos
#
2526
RT:
11.15
AV:
1
NL:
6.43E5
T:
FTMS + p ESI d Full ms2 321.18@hcd60.00 [50.00-345.00]
60
80
100
120
140
160
180
200
220
240
260
280
300
320
340
m/z
0
5
10
15
20
25
30
35
40
45
50
55
60
65
70
75
80
85
90
95
100
Relative Abundance
70.0652
C
4
H
8
N
114.0914
C
6
H
12
O
N
173.1397
C
7
H
17
O
N
4
217.1295
C
8
H
17
O
3
N
4
60.0559
C
H
6
N
3
97.0760
C
5
H
9
N
2
84.0808
C
5
H
10
N
241.1657
C
11
H
21
O
2
N
4
321.1767
C
22
H
26
P
131.1291
C
5
H
15
N
4
156.1132
C
7
H
14
O
N
3
200.1280
C
10
H
18
O
3
N
277.1865
C
13
H
30
N
2
P
S
303.4981
Campy_Fucose_0hrs_Top5_60NCEstepped_pos
#
3772
RT:
17.04
AV:
1
NL:
1.08E7
T:
FTMS + p ESI d Full ms2 175.12@hcd60.00 [50.00-195.00]
50
60
70
80
90
100
110
120
130
140
150
160
170
180
190
m/z
0
5
10
15
20
25
30
35
40
45
50
55
60
65
70
75
80
85
90
95
100
Relative Abundance
70.0652
C
4
H
8
N
175.1189
C
6
H
15
O
2
N
4
60.0559
C
H
6
N
3
116.0706
C
5
H
10
O
2
N
130.0975
C
5
H
12
O
N
3
158.0924
C
6
H
12
O
2
N
3
72.0808
C
4
H
10
N
112.0869
C
5
H
10
N
3
68.0495
C
4
H
6
N
97.0761
C
5
H
9
N
2
141.0664
C
2
H
12
O
2
N
3
P
120.5136
180.8182
191.8659
C
3
P
4
S
52.6039

## Slide 9
0h
4h
9h
24h
24hrs Medium
24hrs Glutamate
24hrs Fucose
?

## Slide 10: QC: RawExtract + Logviewer
Take information from scan header with RawExtract  plot with Logviewer
??

## Slide 12: Thanks for your attention! Any questions?
50
60
70
80
90
100
110
120
130
140
150
160
170
m/z
0
5
10
15
20
25
30
35
40
45
50
55
60
65
70
75
80
85
90
95
100
Relative Abundance
85.0283
102.0913
60.0806
103.0389
58.0650
57.0334
162.1127
C5H12ON
C4H7O3
C4H5O2
C3H10N
C3H8N
C3H5O
C7H16O3N
HCD@90NCE

## Slide 13: A story linked by fragments….
Comparing many spectra
  Cosine function  network
Annotation of key fragments
What are the modifications?
Biologically relevant? Biochemistry?
Taste of ‘real’ novel compounds